SECTION 01600

MATERIAL AND EQUIPMENT

1.		GENERAL

1.1		All material and equipment incorporated in the Work shall be:

1.1.1		New.

1.1.2		In condition acceptable to University's Representative.

1.1.3		Suitable for intended use.

1.2		Keep materials clean, dry, and undamaged.

2.		TRANSPORTATION AND HANDLING

2.1		Deliver manufactured products in their original unbroken containers or bundles, clearly labeled with manufacturer's name, brand, and grade seal or model number.

2.2		Handle materials and equipment in a manner to avoid damage to products and their finishes.

2.3		Promptly remove damaged or defective products from the Project site and replace with no adjustment of Contract Sum.

3.		STORAGE AND PROTECTION

3.1		Store manufactured products in accordance with manufacturers' instructions and with seals and labels intact and legible.

3.1.1		Store products subject to damage by the elements in weathertight enclosures.

3.1.2		Maintain temperature and humidity in accordance with manufacturers' recommendations.

3.2		Exterior Storage:

3.2.1		Store materials and equipment above ground on blocking or skids to prevent soiling, staining, and damage.

3.2.2		Cover products which are subject to damage by the elements with impervious protective sheet coverings.  Provide adequate ventilation to prevent condensation.

3.2.3		Store sand, rock, or aggregate material in a well-drained area on solid surfaces to prevent mixing with foreign matter.

3.3		Arrange storage to allow adequate inspection.

3.4		Periodically inspect stored products to assure that products are maintained under specified conditions and are free from damage and deterioration.

3.5		Protection After Installation:

3.5.1		Prevent damage to materials and equipment.

3.5.2		Use whatever protective materials or methods are necessary to prevent damage to installed products from traffic, construction operations, and weather.  Remove protection when no longer required.

3.5.3		Maintain temperature and humidity conditions in interior spaces for the Work in accordance with manufacturers' instructions for the materials and equipment being protected.

4.		UL LABEL

4.1		Materials and equipment, for which Underwriters' Laboratories, Inc. standards have been established and their label service is available, shall bear the appropriate UL Label.

5.		MANUFACTURERS' TRADE MARKS AND NAMES

5.1		University's Representative reserves the right to review and request the removal or redesign of manufacturers' trade marks and names on items of materials and equipment which will be exposed to view in the completed Work.  Such removal or redesign shall be with no adjustment of Contract Sum.

*****