SECTION 01155

UNIT PRICES

1.		GENERAL

1.1		DESCRIPTION

1.1.1		Unit price quotations are to inserted in the appropriate spaces in the Bid Form for each unit price item of Work described herein.

1.1.2		Unit prices stated in the Agreement shall be used to compute adjustments of the Contract Sum for approved unit price items of Work.  Such adjustments shall be made by Change Order.

1.1.3		Unit prices shall include all labor, materials, tools, and equipment; all other direct and indirect costs necessary to complete the item of Work and to coordinate the unit price Work with adjacent work; and shall include all overhead and profit.  Contractor shall accept compensation computed in accordance with the unit prices as full compensation for furnishing such Work.

1.1.4		Compensation will be paid for those items of Work described in Article 2.1, Unit Prices.

1.2		SPECIFIED WORK

1.2.1		Applicable Sections of the Specifications describe the materials and methods required under the various unit price items of Work.

2.		PRODUCTS

2.1		UNIT PRICES

2.1.1		List of Unit Price Items and Descriptions

No. {          }  {PROVIDE DESCRIPTION}

{REPEAT THE ABOVE FOR EACH SUCCESSIVE UNIT PRICE.}

3.		EXECUTION

3.1		ADVANCED COORDINATION

3.1.1		Immediately notify University's Representative when conditions require the use of unit price items of Work No(s). {          }.

3.1.2		The applicability of, measurement methods for, documentation of, and the final adjustment of the Contract Sum for unit price items of Work shall be determined by University's Representative.

3.1.3		After performing unit price items of Work No(s). {          } as directed by University's Representative, Contractor shall take necessary measurements in the presence of University's Representative and shall submit calculations of quantities to University's Representative for approval.  Contractor shall notify University's Representative 1 day in advance of taking measurements.

*****