SECTION 01080

REGULATORY REQUIREMENTS

1.		GENERAL

1.1		The Work shall be performed in accordance with Applicable Code Requirements and applicable requirements of all other regulatory agencies, including, but not limited to, the following:

1.1.1		California Code of Regulations, Title 8, Industrial Safety.

1.1.2		California Code of Regulations, Title 13, Hazardous Materials Transportation.

1.1.3		California Code of Regulations, Title 17, Radiation Safety.

1.1.4		California Code of Regulations, Title 19, Public Safety.

1.1.5		California Code of Regulations, Title 20, Public Utilities and Energy.

1.1.6		California Code of Regulations, Title 21, Public Works.

1.1.7		California Code of Regulations, Title 23, Underground Storage Tank Regulations.

1.1.8		California Code of Regulations, Title 24

Part 1, Administrative Regulations.

Part 2, California Building Code.

Part 3, the California Electrical Code.

Part 4, the California Mechanical Code.

Part 5, the California Plumbing Code.

Part 6, the California Energy Code.

Part 7, the California Elevator Safety Construction Code.

Part 8, the California Historical Building Code.

Part 9, the California Fire Code.

Part 12, State Referenced Standards Code.

1.1.9		California Code of Regulations, Title 25, Housing and Community Development.

1.1.10	California Code of Regulations, Title 26, Toxics.

1.1.11	National Fire Protection Association (NFPA),  “Life Safety Code,” NFPA 101 (for hospital projects only).

1.2		Unless otherwise specified, specific references to codes, regulations, standards, manufacturers' instructions, or requirements of regulatory agencies, when used to specify requirements for materials or design elements, shall mean the latest edition of each in effect at the date of submission of bids, or the date of the Change Order or Field Order, as applicable.

2.		CONFLICTS

2.1		If a conflict exists between referenced regulatory requirements or between referenced regulatory requirements and the Contract Documents, Contractor shall notify University's Representative and request that the conflict be resolved.

*****