SECTION 01010

SUMMARY OF WORK

1.		WORK REQUIRED BY CONTRACT DOCUMENTS

{LIST AS APPLICABLE}

2.		CONTRACTOR'S USE OF PROJECT SITE

2.1		Contractor's use of the Project site for the Work and storage is restricted to the areas designated on the Drawings.

3.		SURROUNDING SITE CONDITION SURVEY

3.1		Prior to commencing the Work, Contractor, University, and University's Representative shall tour the Project site together to examine and record damage to existing adjacent buildings and improvements.  This record shall serve as a basis for determination of subsequent damage due to Contractor's operations and shall be signed by all parties making the tour.  Any cracks, sags, or damage to the adjacent buildings and improvements not noted in the original survey, but subsequently discovered, shall be reported to University's Representative.

4.		PROTECTION OF EXISTING STRUCTURES AND UTILITIES

4.1		Locate all known existing installations before proceeding with construction operations which may cause damage to such installations. The existing installations shall be kept in service where possible and damage to them shall be repaired with no adjustment of Contract Sum.

4.2		If any other structures or utilities are encountered, request University's Representative to provide direction on how to proceed with the Work.

4.3		If any structure or utility is damaged, take appropriate action to ensure the safety of persons and property.

*****