SECTION 01090

ABBREVIATIONS, SYMBOLS & DEFINITIONS

1.		ABBREVIATIONS

1.1		The following abbreviations of organizations may be used in the Contract Documents:

(list as applicable)

1.2		Additional abbreviations, used on the Drawings, are listed thereon.

2.		SYMBOLS

2.1		Symbols, used only on the Drawings, are shown thereon.

3.		DEFINITIONS

3.1		The following terms, when used on the Drawings or in the Specifications, shall have the following meanings:

TERM							MEANING

AS DIRECTED					-	“As directed by University's Representative.”

AS REQUIRED					-	“As required by Applicable Code Requirements; by 											good building practice; by the condition prevailing; 											by the Contract Documents; by University; or by 											University's Representative.”

AS SELECTED					-	“As selected by University's Representative.”

BY OTHERS						-	“Work on the Project that is outside the scope of Work 											to be performed by Contractor under the Contract, 											but that will be performed by University, Separate

Contractors, or other means.”

EQUAL						-	“Of same quality, appearance, and utility to that 											specified, as determined by University's 											Representative.  Contractor bears the burden of proof 											of equality.”

FURNISH						-	“Supply only, not install.”

INSTALL						-	“Install or apply only, not furnish.”

UNIVERSITY-FURNISHED,		-	“To be furnished by University at its cost and installed   		CONTRACTOR-INSTALLED			by Contractor as part of the Work.”

PROJECT SITE					-	“Geographical location of the Project.”

PROVIDE						-	“Furnish and install.”

SHOWN						-	“As indicated on the Drawings.”

SPECIFIED						-	“As written in the Contract Documents.”

SUBMIT						-	“Submit to University's Representative.”

*****