SECTION 01500

CONSTRUCTION FACILITIES AND TEMPORARY CONTROLS

1.		PROTECTION OF EXISTING STRUCTURES AND UTILITIES

1.1		The Drawings show, if applicable, existing above and below grade structures, drainage lines, storm drains, sewers, water, gas, electrical, hot water, and other utilities which are known to University.

1.2		Locate all known existing installations before proceeding with construction operations which may cause damage to such installations.  Existing installations shall be kept in service where possible and damage to them shall be repaired with no adjustment of Contract Sum.

1.3		If any other structures or utilities are encountered, request University's Representative to provide direction on how to proceed with the Work.

1.4		If any structure or utility is damaged, take appropriate action to ensure the safety of persons and property.

2.		INTERRUPTION OF BUILDING SERVICES

2.1		Obtain University's approval at least 7 days prior to any service shutdown or cutover.  University may authorize overtime if the Work must be performed during overtime hours.

*****