SECTION 01051

PROJECT COORDINATION

1.		GENERAL

1.1		Coordinate the Work and do not delegate responsibility for coordination to any Subcontractor.

1.2		Anticipate the interrelationship of all Subcontractors and their relationship with the Work.

1.3		Resolve differences or disputes between Subcontractors concerning coordination, interference, or extent of the Work between sections of the Work.

1.4		Coordinate the Work of Subcontractors so that portions of the Work are performed in a manner that minimizes interference with the progress of the Work.

1.5		Do not obstruct spaces and installations that are required to be clear by Applicable Code Requirements.

1.6		Do not cover any piping, wiring, ducts, or other installations until they have been inspected and approved and required certificates of inspection issued.

1.7		Remove and replace all Work which does not comply with the Contract Documents.  Repair or replace any other Work or property damaged by these operations with no adjustment of Contract Sum.

1.8		Coordinate all portions of the Work requiring careful coordination in order to fit in space available.  Before commencing such portions of the Work, prepare supplementary Drawings for review by University's Representative.

*****