SECTION 01560

ENVIRONMENTAL MITIGATION

{INSTRUCTIONS TO FACILITY PERSONNEL:  University Project Manager will obtain from the Facility environmental planner a list of environmental mitigations which apply to the construction phase of this specific project.  Mitigations will include both those required by the Long-Range Development Plan and project specific environmental documents.  The Project Manager will draft clear, concise descriptions of measures with which the Contractor must comply.  Enter the measures below.  Any changes to the construction contract which impact the specified mitigation measures should be discussed with the Facility environmental planner.}

1.		GENERAL

1.1		The Environmental Mitigation requirement for this project are recorded in this specification section 01560.  The measures mitigations may include, but are not limited to, procedures and standards to control:

Dust

Noise

Fumes

Timing of work activities

Erosion

Archaeological resources found during excavation

Preservation of trees

Demolition process and materials.

1.2		The Contractor must comply with the mitigation below in terms of what is to be controlled, acceptable methods, and standards, e.g. equipment must be muffled and noise levels may not exceed specified decibel level.

1.3		The Contractor will provide documentation of having met the mitigation requirements as described below.

1.4		{LIST SPECIFIC MITIGATION MEASURES REQUIRED.}

*****