SECTION 01 52 00 CONSTRUCTION FACILITIES

1. GENERAL

|  |
| --- |
| Review Project Manager workspace requirements. Coordinate inspector workspace requirements with the inspection staff supervisor. |

* 1. JOB OFFICE
     1. Contractor shall provide and maintain a temporary office of exclusive use of the University's Representative.
     2. The office for the University's Representative shall not be less than [10 feet by 16 feet by 8 feet] [10 feet by 60 feet by 8 feet] [12 feet by 60 feet by 8 feet] and shall be wind and weatherproof with adequate natural and artificial light to read drawings and specifications. It shall contain the following: a toilet with hand sink, a drawing table 42 by 72 inches (minimum), plan racks, provisions for supplies and clothing, a desk with lockable file drawer, a chair, its own temporary heating and air conditioning facilities, and shall have a telephone for the purpose of conducting all business pertinent to the Project. University's Representative's telephone may be an extension of Contractor's phone, providing there are at least [INSERT TEXT AS APPROPRIATE] incoming trunk lines and 5 Network Access Module (NAMS). The office shall be secure and lockable.
     3. Contractor shall be responsible for providing all necessary temporary utility hook-ups including but not limited to: sanitary sewer, electricity, telephone, data and water. Coordination and installation of temporary utilities will be accomplished in accordance with Section 01 51 00 Temporary Utilities.
     4. Temporary Utilities: Refer to Section 01 51 00 Temporary Utilities
     5. Contractor shall provide space with table and chairs for meetings for at least [20] [#] people.
     6. Contractor shall maintain a similar office for its use and that of its superintendent.

1. PRODUCTS (NOT USED)
2. EXECUTION (NOT USED)

END OF SECTION 01 52 00