I.	Audit Approach

As an element of the University’s core business functions (payroll, financials, student, and medical), Physical Security of IT Resources will be audited every three years using. The minimum requirements set forth in the General Overview and Risk Assessment section, below, must be completed for the audit to qualify for core audit coverage.  Following completion of the general overview and risk assessment, the auditor will use professional judgment to select specific areas for additional focus and audit testing.  Specifically the minimum scope of the risk assessment and audit will include the following as they relate to the Campus Data Center:

- Environmental Controls

- Natural Disaster Controls

- Supporting Utilities Controls

- Physical Protection and Access Controls

- System Reliability

- Physical Security Awareness and Training

- Contingency Plans

The estimated audit time for all sections is 260 hours.  This estimate does not including report writing, exit meetings, working paper sign off, and work paper cross referencing.

II. 	General Overview and Risk Assessment (60 hours)

For Campus, Medical Center, and Lab central IT management; general overview procedures will include interviews of department management and key personnel; a review of available financial reports; evaluation of policies and procedures associated with business processes; inventory of compliance requirements; consideration of key operational aspects; and an assessment of the information systems environment.  During the general overview, a detailed understanding of the management structure, significant financial and operational processes, compliance requirements, and information systems will be obtained (or updated).

As needed, the general overview will incorporate the use of internal control questionnaires process flowcharts, and the examination of how documents are handled for key processes.

IT physical security defines the various measures or controls that protect an organization from a loss of computer processing capabilities caused by theft, fire, flood, intentional destruction, unintentional damage, mechanical equipment failure and power failures.  Physical security measures should be sufficient to deal with foreseeable threats.

A.	The following table summarizes audit objectives and corresponding high-level risks to be considered during the general overview.

| Audit Objective | Areas of Risk |
| --- | --- |
| Obtain an understanding of significant processes and practices employed in maintaining and monitoring physical security for IT resources. Specifically addressing the following components: - Management philosophy, operating style, and risk assessment practices including: - Awareness and compliance with applicable laws, regulation and polices - Planning and management of data center physical security financial resources - Efficiency and Effectiveness Programs - Organizational structure, and delegations of authority and responsibility for IT physical security standards, policies, and monitoring - Positions of accountability for financial and programmatic results related to IT physical security - Process strengths (best practices), weaknesses, and mitigating controls - Financial Considerations - Compliance with applicable laws, regulations, policies, and procedures. | - The IT physical security risk assessment processes may not identify key areas of risk including: - Natural disaster such as fire, earthquake, flooding, etc. - Environmental controls such as temperature and humidity controls - Theft or malicious destruction - Unintentional destruction of hardware or data by untrained employees. - Mechanical failure of hardware - Power interruptions - IT Management may not monitor physical security outside of the centralized computing center, particularly if the campus has a distributed computing environment administered by multiple divisions and departments. - Delegations of authority may be inappropriate or non existent for IT physical security. - IT physical security related duties may not be included in performance evaluations - Management may not have defined physical security standards and/or local policies - Management may not have committed sufficient financial resources to IT physical security - IT security may not be in compliance with applicable laws, regulations, policies, and procedures. |

- The following procedures will be completed as part of the general overview whenever the core audit is conducted.

- Determine which managers are responsible for planning, funding, and operations of physical security of the Data Center

- Interview Key IT managers identified in step 1 to determine:

  - Management philosophy

  - Risk assessment processes

  - Management concerns about physical security of the Data Center

  - Determine level of awareness and opinions towards UC Policies, laws, and regulations related to physical security

  - Determine if management believes the Data Center has sufficient funding to provide adequate physical security

- Request the managers responsible for Data Center physical security complete the ICQ

- Obtain copies of risk assessment documentation and review for reasonableness.

- Determine if management bases physical security controls on risk assessment.

- Obtain copies of organization charts for IT management responsible for physical security

- Obtain job descriptions, and performance evaluations, for key staff members and managers responsible for IT physical security.

  - Verify responsibilities and authority are appropriate and performance for IT security duties is reviewed

  - Verify that percentage of time listed on job description is reasonable to perform physical security related functions.

  - Verify that critical positions are defined and background checks and fingerprinting are a condition of employment (in the job description) and are actually carried out for a judgment sample.

- Determine if Campus has local policies, procedures, standards, or guidelines related to IT physical security,

- Determine applicable UCOP policies related to physical security

- Determine applicable State and Federal laws and regulations related physical security

- C.	Following completion of the general overview steps outlined above, a high-level risk assessment should be performed and documented in an audit workpaper.  To the extent necessary, as determined by the auditor, this audit may address aspects of other areas outlined below (financial reporting, compliance, operational efficiency and effectiveness; and information systems).   In addition to the evaluations conducted in the general objectives section, the risk assessment should consider the following: annual expenditures; time since last review, recent audit findings; organizational change; regulatory requirements, etc.

III.	Financial (18 hours)

A.	The following table summarizes audit objectives and corresponding high-level risks regarding financial network management processes.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate the adequacy of financial resources, and appropriate financial planning consistent with the objectives of Physical Security. Include the following components: - Appropriate investment physical security equipment (alarms, locks or other physical access controls, identification badges for high security areas, etc.) - Appropriate investment in human resources with direct responsibilities for IT physical security - Appropriate investment in background checks and fingerprinting for critical positions - Appropriate development of policies and standards - Does IT governance provide adequate consideration of financial needs? | - Poor investment in physical security controls may allow unauthorized access to servers and network equipment - Inadequate funding for key positions with responsibility for IT physical security may result in poor monitoring, poor compliance with policies and standards, and overall poor physical security - Recharge methodologies and overhead rate calculations may not provide adequate funding for IT physical security - Lack of funding may prevent IT departments from complying with policies, standards, and guidelines |

B.	Based on the audit risk assessment the following procedures should be considered for additional review when this core audit is conducted:

- Determine if physical security has a distinct budget or sub budget.

- Obtain and review budget information related to physical security, as needed, if lack of budget is cited as a reason for deficiencies in physical security in preliminary meeting(s) or if auditor’s preliminary risk assessment indicates budget deficiencies are responsible for unacceptable risks as noted above.

- Determine if physical security risk assessment (performed by IT management) is considered in the budgeting process.

### IV.	Compliance (52 hours)

A.	The following table summarizes audit objectives and corresponding high-level risks regarding compliance with policies and procedures, and regulatory requirements.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate the following: - Compliance with UCOP Policies: IS3 IS10 Other Business and Finance Bulletins and other University policies Electronic communications policy; - Compliance with Applicable State and Federal laws and regulations including: HIPAA FERPA SB 1392 GLBA - Adequacy of and compliance with local policies, standards and guidelines | - Lack of adequate policy guidance may result in poor IT physical security - Lack of training and knowledge of policies, standards, and guidelines may result in poor IT physical security - Poor management communication regarding expectations (standards and policies) may result in inappropriate behavior. - Management may not have defined local IT physical security policies, standards, or guidelines resulting in poor and inconsistent IT physical security, particularly in a distributed computing environment. - Poor monitoring for compliance with policies, standards, and guidelines may result poor compliance and in IT management not knowing potential weaknesses and risks. - Improper classification of costs may cause regulatory compliance concerns (A-21, cost accounting standards) |

B.	Based on the audit risk assessment the following procedures should be considered for additional review when this core audit is conducted:

- Obtain and review applicable UC policies and procedures

- Obtain, and review applicable State and Federal laws and regulations

- Obtain local policies and procedures related to physical security.

- Evaluate adequacy local policies and procedures including but not limited to:

  - Procedures for granting ID badges for high security areas

  - Procedures related to background checks and fingerprinting for critical IT positions.

  - Procedures for granting keys or electronic access codes to high security areas.

  - Procedures for reviewing access logs to high security areas.

- Select a judgment sample to test for compliance with applicable laws, regulations, policies, and procedures and document in a workpaper.

- Review management reports and/or conduct interviews to determine how management monitors for compliance with applicable laws, regulations, policies and procedures

- If physical security is funded by Federal Funds determine if cost classification is in compliance with A-21.

###### V.	Operational Effectiveness and Efficiency (39 hrs)

A.	The following table summarizes audit objectives and corresponding high-level risks regarding operational effectiveness and efficiency.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate management processes, specifically addressing the following areas: - Personnel management (The use of employees vs. contractors); - Specialization of work – centralized vs. decentralized - Granting physical access (keys or electronic access) and issuing security badges - IT physical security and equipment changes affecting IT physical security. Consider planned vs. ad hoc changes | - Paying more for services when less expensive alternatives are available. - Loss of control of IT security (if contractors are used) - Unauthorized changes to equipment or to the network may affect physical security controls. Only authorized changes should be allowed. - Physical access controls may not be well designed or implemented, and may not yield desired results, i.e. authorized persons may not be able to efficiently gain physical access, unauthorized persons may have inappropriate physical access to servers or other essential electronic data resources. |

B.	Based on the audit risk assessment the following procedures should be considered for additional review when this core audit is conducted:

- Determine the extent of  physical security services provided by independent contractors

  - If independent contractors are used determine if management has done a cost benefits analysis related to using contractors instead of employees

  - If contractors are not used determine if they could perform functions at lower cost with greater efficiency without compromising physical security controls.

- Review procedures and/or interview appropriate staff to determine if change controls related to physical security are efficient and effective

- Review procedure and/or interview appropriate staff to determine if physical access controls are efficient and effective based on areas of risk, above.

VI.	Information Systems (91 hrs)

| A. The following table summarizes audit objectives and corresponding high-level risks regarding information systems. Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate the following: - IT management risk ranking process and physical security measures adopted to control risks. - Physical security for essential electronic information resources. - Business Continuity Planning - Physical access control for network devices and wiring closets - Physical security for Information systems, applications, databases, electronic interfaces, and network cabling, specifically: - Physical security access controls for buildings - Physical security controls for cabling and wiring closets - Physical security and access controls for data processing hardware within buildings - Physical security for data media and backups - Physical security for data access points - Business Continuity Planning - Physical Planning and Construction impact on IT physical security | - The IT physical security procedures may not address and identify appropriate actions (including communication with decision maker) related to: - Natural disaster such as fire, earthquake, flooding, etc. - Environmental controls such as temperature and humidity controls - Theft or malicious destruction - Unintentional destruction of hardware or data by untrained employees. - Mechanical failure of hardware - Power interruptions - Building construction and remodels may compromise physical security. Building contractor workers may need access to high security areas. Lack of ID badges for contractors can lower security standards. |

B.	Based on the audit risk assessment the following procedures should be considered for additional review when this core audit is conducted:

- Observe and evaluate the physical security for a judgment sample of selected servers.

- Observe and evaluate the physical security for data media and off site backups

- Use judgment sample testing to determine if compensating controls and written procedures exist to react to the following situations.  Testing should determine if appropriate staff know who decision makers are and if appropriate means to communicate with them in emergency situations are established and documented.  Document testing in standard workpaper.

- Natural disaster such as fire, earthquake, flooding, etc.

- Environmental controls such as temperature and humidity controls

- Theft or malicious destruction

- Unintentional destruction of hardware or data by untrained employees.

- Mechanical failure of hardware

- Power interruptions

- Review policies and/or interview appropriate staff in Physical Planning and Construction department to determine if procedures exist to assure physical security is not compromised in construction projects such as a remodel of the Data Center building or room.  Building contractor employees should meet same security requirements as employees working in the Data Center, i.e. picture ID badges, etc.  Physical security requirements should be included in building blueprints and/or specifications from the time the bidding process begins.

***